|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Beta bionics ilet**  | **Medtronic 780g** | **Omnipod 5** | **Tandem T:Slim X2** | **Tandem Mobi**  |
| **Adjusts background insulin based on CGM data** |  |  |  |  |  |
| **Carb counting**  | Meal announcements only  | Forgiveness for guesstimates |  | Forgiveness for guesstimates  | Forgiveness for guesstimates  |
| **Auto corrections given by pump** |  |  |  |  |  |
| **Corrections can be given by user** |  |  |  |  |  |
| **Can bolus from iPhone and some****Android models**  |  |  | Both  | Both | Apple Only |
| **Tubeless** |  |  |  |  | Tubing but can wear on body  |
| **Frequency of site changes** | 2-3 days | 2-3 days OR 7 day infusion set available  | 2-3 days | 2-3 days | 2-3 days |
| **Insulin capacity** | 180 units | 300 units  | 200 units | 300 units | 200 units  |
| **CGM compatibility**  | Dexcom G6Dexcom G7 | Medtronic Guardian | Dexcom G6Dexcom G7 | Dexcom G6Dexcom G7Freestyle Libre 2 plus | Dexcom G6Dexcom G7Freestyle Libre 2 plus |