|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Beta bionics ilet** | **Medtronic 780g** | **Omnipod 5** | **Tandem T:Slim X2** | **Tandem Mobi** |
| **Adjusts background insulin based on CGM data** |  |  |  |  |  |
| **Carb counting** | Meal announcements only | Forgiveness for guesstimates |  | Forgiveness for guesstimates | Forgiveness for guesstimates |
| **Auto corrections given by pump** |  |  |  |  |  |
| **Corrections can be given by user** |  |  |  |  |  |
| **Can bolus from iPhone and some**  **Android models** |  |  | Both | Both | Apple Only |
| **Tubeless** |  |  |  |  | Tubing but can wear on body |
| **Frequency of site changes** | 2-3 days | 2-3 days OR 7 day infusion set available | 2-3 days | 2-3 days | 2-3 days |
| **Insulin capacity** | 180 units | 300 units | 200 units | 300 units | 200 units |
| **CGM compatibility** | Dexcom G6  Dexcom G7 | Medtronic Guardian | Dexcom G6  Dexcom G7 | Dexcom G6  Dexcom G7  Freestyle Libre 2 plus | Dexcom G6  Dexcom G7  Freestyle Libre 2 plus |